## Slide 5: Draft: MRI Report

## Slide 6: Step 1: Creating a BEM-Headmodel
Cortex with artifacts, growing regions compared with standard cortex
Exclude the cerebellum + brain stem a) Automated Segmentation Cortex => Error: Cerebellum still included
b) Manually Assited Automated Brain Segmentation: Brainstem and Cerebellum only partly removed => setting stop markers (limits + regions) to manually remove every layer
Result: Cortex

## Slide 7: Step 1: Creating a BEM-Headmodel

## Slide 8: Step 1: Creating a BEM-Headmodel

## Slide 9: Step 1: Creating a BEM-Headmodel

## Slide 10: Step 1: Creating a BEM-Headmodel

## Slide 11: Step 1 Alternative: Adding exterior to stop markers
Lower Treshold: 68 to single out the cerebellum and brain stem => whole head preserved
Fix a) Higher treshold: cerebellum could not be completely seperated from the cortex

## Slide 12: Step 1 Alternative: Adding exterior to stop markers
Fix b) manual segmentation
=> Exclusion of cortex areas in bi-frontal and right parietal regions

## Slide 13: Step 1: Second Alternative
Start from scratch
A) Automated BEM Head Model Generation
Result: Cortex plus parts of the cerebellum and errors in temporal lobe

## Slide 15: BEM Head Model Creation
Notes: Note: Algor. (Seg. & BEM Head Model)

## Slide 16: MEG EEG
Artifact Reduction(voltage threshold to detect Blink artifacts ,
Averaging()

## Slide 17: Teresa EMEG Data
Notes: lot of weird channels

## Slide 18: Channel Interpolation
& Filtering
Notes: After interpolating channel. Need to filter out high frequency

## Slide 19: Jeremie EMEG Data
Notes: Few EEG Channels (FT7, FT8, lz, FC2) with extrapolated signal. We will interpolate (4 Neighbours) after applying a constant baseline correction

## Slide 20: Before Baseline Correction
Notes: file was recorded with no High Pass filtering (DC), it is common to see varying degrees of DC offset, thus the large numbers for the voltages on the far right. In Curry, the DC offset can also be removed by performing a Baseline Correction, with Constant for Type

## Slide 21: After Baseline Correction

## Slide 22: Before Channel Interpolation
Notes: EEG Channels (FT7, FT8, lz, FC2) with extrapolated signal. We will interpolate (4 Neighbours)

## Slide 23: After Channel Interpolation
Notes: Baseline Correction and Channel Interpolation

## Slide 24: After Default Filtering
Before Default Filtering
Notes: Baseline Correction and Channel Interpolation

## Slide 25
Blink Artifact Detection: Voltage Threshold
Notes: Before Filtering, detect blink artifact using voltage Threshold. Select Threshold value and the eye Channel

## Slide 26: Before Blink Reduction
After Blink Reduction
Notes: Here reduction with Covariance. Data Filters needs to be used here. Change could also be seen in the Butterfly display.
PCA (Principle Component Analysis) or ICA also reduce the blink artifact. Blink is the first component. So 1 is enough to remove blink artifacts.
Could also perform Template Matching and PCA projection (must enable CAR as referencing to see effect)

## Slide 27: Average Data

## Slide 28: Averaged Signal in Butterfly Plot

## Slide 29: Filter Adjustment - Filter 2 ( 1- 15)

## Slide 30: High Pass adj. 3 Hz

## Slide 31: Newly Filtered & Averaged Butterfly Plot

## Slide 32: With Interpolated channels
Notes: No satisfying improvement. So we removed them

## Slide 33: With Desactivated channels

## Slide 34: FD Maps

## Slide 35: Start Emil

## Slide 37: Carsten MEG only

## Slide 38: Carsten EMEG

## Slide 39: Minimum Norm CDR

## Slide 40: sLORETA CDR

## Slide 41: Dipole scan

## Slide 42: Jérémie sLORETA CDR and dipole scan